TENDER CLARIFICATION

REQUEST FOR QUOTATION E3215NTCSAMWP: Supply, Install and Commission 100kVa Generator on a Concrete Plinth with security enclosure at Hekpoort and Britskop Radio Station

| Clarification 02 | Request For Proposal No. E3215NTCSAMWP |
| --- | --- |

The following clarification is needed in response to queries and questions raised by Tenderers.

Clarification Request in BLACK and Clarification Response in RED

| Items | Clarification / Discussion |
| --- | --- |
| 01 | In regards to the above mentioned tender, point 3.22 on the ITT stipulates that the required CIDB grading is 5EP however having gone through the scope of work, I noticed that the scope is more civil than it is electrical, can you please clarify/explain how you got to the decision that 5EP is applicable for this tender ? |
| 01 | Any contractor engaged in the supply, installation, and commissioning of a 100Kva generator, which results in the production of a fixed asset, is required to be registered under the “EB” class of construction works. Additionally, two alternative class of construction works are considered, and the contractor must be in position of 5EP or 5EB or higher. |