## PRICING SCHEDULE
`
No: | Description | Units | Quantity | Rate | Amount
A | Master Station Software
A.1 | Adroit software licensing renewals and software updates. Including: | Once off
| 1. SCADA 25 000 Scan Points 2. SCADA View Nodes 3. Alarm Management System Once off fee for above, for 36 months |  | 1 |  |  | `
A.2 | Amount for Loading, setting-up, and deploying newest SCADA Software and View nodes. | Each | 1
A.3 | Loading, setting-up, and deploying main SCADA Intelligence & Interface including licensing. (once off) | Each | 1
A.4 | ThinManager SCADA Solution - License & Engineering | Each | 8
A.5 | ftServer Ztc-250i | Each | 4
A.6 | Telemetry ftServer licensing and software updates | Once off | 1
A.7 | SCADA development Engineering. | Hour | 10240
B | Telemetry Communication
B.1 | Radio / RTU, required at pump stations. The radios shall be equipped with both UHF Radios, as well as 4G GSM modem | Each | 50
C | Maintenance of Telemetry sites
C.1 | Complete maintenance, for the telemetry system for all sites. | Per Month | 36
D | Maintenance of Telemetry Equipment
D.1 | Telemetry SCADA Servers | Each | 5
D.2 | Durapower 5000 VA UPS | Each | 2
D.3 | Durapower External Battery Pack for 5000 VA UPS | Each | 2
D.4 | Durapower 3000 VA UPS | Each | 6
D.5 | Durapower Batteries 3000 VA UPS | Each | 6
D.11 | View Node Computers distributed all over the Depot and Water Plants | Each | 15
E | 220 V AC Powered Complete Outstations
E.1 | Complete RTU and I/O including Radio based outstation | Each | 43
E.2 | Complete PLC System and Radio based Pumpstation Control | Each | 7
F | Ultra Low Power/Data Loggers Complete Outstations
F.1 | Supply of Ultra Low Power RTU / Data Loggers System comprising of: a) IP 68 Aluminum Enclosure b) Main processor and interface unit. c) Rechargeable 3.6 V battery d) External Backup Batteries e) Charging controller f) LTE GSM modem g) IP 68 Connectors | Each | 52
G | Vandal Resistant Security Enclosures
G.1 | Supply, transport, install and commissioning of vandal resistant security enclosure with size of 516 x 590 x 280 mm deep. Comprising: |  | 50
| · Solar Panel (polycrystalline) Vandal Resistant Enclosure mounted on-top of the telemetry enclosure |  | 43
| · 80 Watt solar panel |  | 43
| · 12 Volt Solar Regulator |  | 43
| · Standpipe to mount enclosure |  | 43
H | Instrumentation
H.1 | Supply & Install of Level Transducers with a ten meter cable | Each | 64
H.3 | MERCURY FLOAT SWITCH 20M CABLE 1A 250V for continuous level control switching of liquids | Each | 10
H.4 | Supply Pressure Sensor for Low-Power loggers with RS-485 communication & Modbus protocol | Each | 52
H.5 | Supply external battery to be installed inside logger unit to enable the unit to report measurements to the SCADA every 15 minutes. | Each | 52
H.6 | LEVEL MEASUREMENT - ULTRASONIC Controller and transducers 6m | Each | 10
I | Telemetry RTU Series
I.1 | RTU module. Fully equipped with all communication and IO's | Each | 43
I.2 | Multi I/O Module (8 Din, 8 DOT & 8 AIN) | Each | 43
I.3 | 16-Ch Dig In Module | Each | 43
I.4 | 16-Ch Dig Out Module | Each | 43
No: | Description | Units | Quantity | Rate | Amount
J | Power Supplies, Load Shedding etc
J.1 | 230 Volt 7 Amp | Each | 29
J.2 | Power Supply 7 Amp Switch Mode (100 Watt) | Each | 29
J.3 | 12 to 24 Volt Converter Unit 5 A (SUC24) | Each | 29
J.4 | Maintenance free 40 A Hr battery | Each | 43
M.6
K | PLC and OT Supply
K.1 | Supply and install PLC (16 AI, 32 DI, 16 DO, 4 AO, ethernet card, PSU, Modbus) | Each | 7
K.2 | MOXA Industrial switches 8 port | Each | 43
Q.4
L | Radios
L.1 | 645M GPRS Router | Each | 16
L.2 | 415U-2 Data Radio | Each | 43
R.1
M | Cabling
M.1 | Instrument Cable – Including Trenching | /m | 12500
N | LABOUR COSTS
N.1 | Design | Each | 104
N.2 | Telemetry Panel Wiring | Each | 52
N.3 | Installation | Each | 104
N.4 | Commissioning | Each | 104
N.5 | Engineer | per month | 36
N.6 | Project Manager | per month | 36
N.7 | Software Engineer | per month | 36
N.8 | Technician | per month | 36
N.9 | Technical Assistant | per month | 36
T.5
Sub - total : Construction Value
Add 10% of Construction value for Contigencies
Sub - total 1 : Construction and Contingency Value
Add 5% Contract Price Adjustment (CPA)
Sub - total 2 : Construction, Contingency & CPA Value
Add 15% Value Added Tax
Total tender amount carried to form of offer :